**Counting living cells (%) with Trypan Blue (5th floor, Merlin)**

1. Add 20 µL of cells (well mixed) in 96 wells plate

(You do not need to put them in new medium)

1. Put the plate in biohazard container and go to the 5th floor Merlin
   1. Take notebook + pen
   2. Biorad slides
   3. Trypan Blue
2. Add 20 µL of Trypan blue to the cells (cell culture cabinet)
3. Mix well and add 10 µL to slide (half-moon shaped spot)
4. Start the machine (green square on the right)
5. Put the slide in (machine will automatically count)